ZH,

REPORT OF JOINT INVESTIGATION VISIT (JIV) BY NOSDRA, RIVERS STATE MINISTRY OF ENVIRONMENT, HEIRS ENERGIES AND COMMUNITY MEMBERS TO 8’’ NKALI – IMO RIVER AT UMUOKECHI, ETCHE LGA, RIVERS STATE.

Please find below highlights of JIV to the above location.

COMPANY ADDRESS: Heirs Energies LTD, 71B Elelenwo Street, New GRA, Port Harcourt, Rivers State.

- LOCATION/SITE ADDRESS: 8’’ NKALI – IMO RIVER AT UMUOKECHI COMMUNITY, ETCHE LGA, RIVERS STATE.

- GEOREFERENCE COORDINATES/INCIDENT NUMBER:

N04 059’2.98’’, E007 007’ 31.16’’/ IN - 0663

- DATE OF INCIDENT: 12/01/2024.

- DATE OF REPORT: 12/01/2024.

- INSPECTION DATE AND TIME: 12/01/2024 AT 1357HRS

- INSPECTION TEAM:

- NOSDRA		APEH, MALACHY I.

- RSMENV		ATTENG, CLAUDE C.

- SITE CONTACTS:

- NPDC			 AYATSE, TERRY

- COMMUNITY REP 	ISAIAH CHIDI

- PURPOSE OF INSPECTION/ INVESTIGATION: Joint Investigation Visit (Event Response).

- COMPLIANCE HISTORY: The site complies with the Agency’s law and regulations and HEIRS ENERGIES responded appropriately.

- IMPACTED AREA: 264m2

- QUANTITY SPILLED:   40 Barrels

- QUANTITY RECOVERED; 38 Barrels

- OPENING CONFERENCE: After the initial welcome formalities, a tool-box/safety briefing coordinated by Mr Ayatse Terry (HEIRS ENERGIES Team Lead) was carried-out. Safety procedures required for the site work was explained to the JIT. The team members were also briefed about the oil spill incident.

10. WALK THROUGH INSPECTION

During the walk-through inspection of the incident site, the following were observed:

- The Joint Investigation Team (JIT) on arrival observed a long trench along the company’s Right of Way.

- A section of the trench was found to be filled to half with Crude Oil suspected to have spilled from the facility.

- 5mm drilled hole was found on the facility at 4 O’clock position which was the sources of spill.

- At the time of JIV crude oil was still spilling from the vandalized section of the facility.

- The incident was as a result of Third-party interference (theft).

- Photographs of the incident point was taken during the JIV

- The JIV was concluded successfully.

- CLOSING CONFERENCE: At the end of the inspection, stakeholders signed off the JIV documents before departure from the site.

- COMPLIANCE CONCERN:

- HEIRS ENERGIES has poor response equipment to oil spill incident

- PHOTOGRAPHS:

Figure 1&2: The 5mm Drilled Hole at 4 O’clock position and the impacted area.

17. RECOMMENDATION

It is recommended that:

- The company should increase surveillance around their facility to prevent similar incident in future.

APEH, MALACHY I.

PES.